## Smart Home Features
Smart Home Features | [7 empty] | Design Category | Other Disciplines
# | Category | Item | Brief / Hint | Complied | Not Complied | Not Applicable | Comments
1 | Connectivity | Connection Type | Wired or Wireless System | Wired |  |  |  | Standard | NA
2 |  | Full Home WiFi | Wi-Fi coverage throughout the villa, including outdoor areas |  | - | - | It is mandatory , not option | Standard | Interior Design
3 |  | Smart Control | Remote, automated control of home devices |  | - | - |  | Standard | Interior Design
4 | Comfort & Climate | Lighting Control | Automated, remote light management |  |  |  |  | Standard | Lighting
5 |  | HVAC Control | Smart heating/cooling system control/Air Handling Interface/Air Quality Monitoring |  |  |  |  | Standard | HVAC
6 |  | Curtains Control | Timed opening/closing & opening of blinds/Adjusts blinds for sun shading |  |  |  |  | Standard | Interior Design
7 | Energy & Water Management | Power Management | Optimizes home energy usage |  |  |  |  | High-End | Sustainability
8 |  | Water Usage Monitoring | Tracks and analyzes water consumption |  |  |  |  | High-End | Plumbing
9 |  | Water Leak Detection | Alerts for water leaks or spills |  |  |  |  | High-End | NA
10 |  | Smart Water Heating | Automated water heater management |  |  |  |  | High-End | Plumbing
11 |  | Cold-Water Temperature Monitoring | Tracks cold water temperatures |  |  |  |  | High-End | Plumbing
12 | Safety & Security | Access Control / Smart Locks | Remote door locking/unlocking / Intercome integration |  |  |  |  | Standard | NA
13 |  | Smart Security Cameras | Remote video monitoring and recording |  |  |  |  | Standard | NA
14 |  | Motion Sensors | Detects movement for security or automation |  |  |  |  | Standard | NA
15 |  | Intrusion Detection System | Alerts for unauthorized access included (Windows/Doors Management) |  |  |  |  | High-End | NA
16 |  | Fire Alarm Integration | Connects alarms to smart systems |  |  |  |  | High-End | NA
17 | Home Entertainment | Background Music System | Controls whole-home audio |  |  |  |  | High-End | Interior Design
18 |  | Sauna Controller | Manages sauna temperature and settings |  |  |  |  | High-End | Interior Design
19 | Outdoor Automation | Smart Irrigation | Automated garden watering system |  |  |  |  | High-End | Landscape
20 |  | Façade & Landscape Lighting Control | External lighting management |  |  |  |  | Standard | Landscape
21 |  | Pool Management | Controls pool systems and maintenance |  |  |  |  | High-End | Plumbing
22 |  | Garage Panel Shutters Control | Manages garage shutter operation |  |  |  |  | Standard | Architecture
23 |  | EV Charging Integration | Smart electric vehicle charging |  |  |  |  | High-End | NA

## Smart Home Area Matrix
Smart Home Area Matrix
Feature / Device | Area / Space
| Entrance | Parking | Living Areas | Dining Areas | Corridor | Show Kitchen | Closed Kitchen | Outdoor Seating | Pool | Master Bedroom | Typical Bedrooms | Master Bathroom | Typical Bathrooms
Touch Panel |  | - |  | - |  | - | - | - | - |  |  | - | -
Motion Sensor | [5 empty] | - | - | - | -
Alexa | - | - |  |  | - |  | - | - | - |  |  | - | -
Background Music
Curtain Control | - | - | [5 empty] | - | -
Window/Door Sensor |  | - |  |  |  |  | - | - | -
Dimming lighting | - | - |  |  | - |  | - | - | - |  |  | - | -

## Connectivity
Connectivity
Definition
The backbone of the smart home, ensuring seamless and reliable communication between devices, systems, and users through high-speed internet access and wireless protocols.
Benefit
Enables effortless control of smart devices, remote access to home systems, and integration of various technologies for a unified and convenient user experience.
Description & Application
Wired Home Automation System
Structured wiring with Ethernet cables for high-bandwidth devices ensuring reliable and low-latency connectivity.
Pre-wired for surround sound or multi-room audio systems, ensuring optimal sound quality and flexibility for future upgrades.
Pros: - Reliability: Wired systems are typically more stable and reliable since they aren't subject to interference like wireless systems. - Speed: They offer faster data transfer and response times, making them ideal for high-performance automation tasks. - Security: Wired systems are less susceptible to hacking or interference, providing greater security. - Power: Devices connected via wired systems usually don't require batteries, which can save on maintenance.
Cons: - Cost: Installation can be expensive, especially in retrofitting existing homes, due to wiring and labor costs. - Inflexibility: Once installed, it's challenging to reconfigure or expand a wired system without significant effort. - Aesthetics: Wires may need to be hidden, requiring more invasive modifications to walls and ceilings. - Installation Time: Wired systems take longer to install compared to wireless systems.
The most frequently used technology in the wired home automation system is KNX, DALI, BACnet, and Modbus TCP/IP.
A wired automation system offers extreme convenience. Nowadays, it comes with so much developed technology. They are extremely popular as they are reliable to almost all sizes and types of homes, as we recommend using KNX protocol.
KNX is an open-source standard available at the global level. This ensures that all components and functions of a building automation system are able to communicate clearly, instantaneously, and remotely.
The KNX protocol has become an international standard adopted by many device manufacturers in the smart home automation and BMS sectors and establish a new functional standard compatible with several manufacturers in the home automation sector.
Wi-Fi Network
A truly connected smart home requires a robust technological infrastructure that enables the customer experience and seamlessly integrates the elements to all areas of the villa.
A strategically placed mesh network system to provide seamless Wi-Fi coverage throughout the villa, including outdoor areas.
Smart Switches​
Turn lights on/off from anywhere using an app or voice commands.​
Create schedules to automatically turn lights on/off at specific times or based on sunrise/sunset.​
Create customized lighting scenes (e.g., "Movie Night," "Dinner Party") to set the perfect ambiance with a single command.​
Pushbutton or Touch switches to control lighting including with the ability to dim and adjust based on automated scenes. Ample outlets and wireless charging stations to ensure devices are always connected.
#VALUE!
Touch Panel
Touch panel is a central panel that can control every feature in villa from one place. Usually it is located in central location in each floor (i.e., living areas).
Touch panel/tablet that can control lighting and air conditioning automation, curtain and blinds control, camera-security systems, Alarm control, Thermostat, Traffic map, weather forecasts, CCTV, Different frame options and many more special features with a one touch.
#VALUE!
Room Controllers
Room controller are like a mini-master touch panels that can control many features within the room from one dedicated location.
#VALUE!
Remote Access
A secure VPN solution or cloud-based platform to allow homeowners to monitor and control their smart villa remotely from their smartphones or tablets.
#VALUE!
Alexa, Google Assisst, Siri, Cortana
Smart TVs, streaming devices, and audio systems can be integrated into a broader smart home ecosystem. They can connect to voice-activated assistants like Amazon Echo or Google Home, enabling you to control your entertainment setup through voice commands.
#VALUE!

## Comfort & Climate
Climate & Comfort
Definition
A system of interconnected devices that work together to maintain ideallighting level, temperature, humidity, and air quality levels within the home.
Benefit
Ensures maximum comfort, health, and well-being for residents by creating a personalized and healthy and comfort indoor environment that adapts to individual preferences and needs.
Description & Application
Lighting Control
Automate lighting based on ambient light conditions and preferences​
Optimize energy usage by turning off lights when not needed​
Adjust brightness levels to create the desired mood for different activities (dimmers).
Dimming lights can reduce energy consumption (dimmers).
Integrate with smart switches, motion sensors, and other devices for automated dimming based on occupancy or time of day​ (dimmers).
Trigger lights to turn on/off when someone enters/leaves a room (motion sensor).​
Enhance security by detecting movement in and around the home (motion sensor).​
Monitor activity in specific areas (e.g., elderly care, pets) (motion sensor).​
Automate actions like turning on lights or adjusting the thermostat based on occupancy (motion sensor).​
Touchless technology in the home is the touchless rubbish bin. These are equipped with motion sensors that automatically open the lid when they detect movement in front of the bin. This eliminates the need to physically touch the rubbish bin’s lid, providing a more hygienic and convenient way to dispose of waste.
Smart Lighting - RGBW, RGBW LED light is named after the color of the LED chips it contains. Standard RGBW LEDs consist of red, green, blue, and white LED chips. It is similar to the manufacturing principle of RGB LEDs but with the addition of a white LED chip. Except for emitting red, green, blue, and white colors, RGBW LED light is able to create a wide range of colors by mixing the lights of four chips together in different proportions.
Moreover, large-scale lighting color mixture brings better lighting effects and a higher color rendering index. The color rendering index could be up to 95 in an optimized condition. RGBW LED light is used for applications that need colorful and high-quality lighting. It is mainly used as decoration for buildings and plants at night.
#VALUE!
AC Control
A high-efficiency ducted HVAC system with air quality sensors and smart thermostats, allowing for zoned temperature control and integration with other home devices for optimal comfort and energy efficiency.
Motorized vents and sensors in each room to automatically adjust airflow based on occupancy, temperature settings, and individual preferences.
Monitor and control the temperature in different rooms for optimal comfort. ​
Integrate with smart thermostats for energy-efficient heating and cooling. ​
Receive alerts for extreme temperature fluctuations.​
Geofencing to automatically adjust heating or cooling when resident leaves or arrive home
#VALUE!
Air Handling Interface
Manage Manages air distribution systems such as filter replacement reminders.
Air Quality ​
An air quality sensor is a device designed to monitor and detect pollutants and environmental conditions in the air. It typically measures particulate matter (PM2.5, PM10), gases like carbon dioxide (CO2), carbon monoxide (CO), volatile organic compounds (VOCs), humidity, and temperature. These sensors can be used indoors or outdoors to ensure the air is safe and healthy to breathe.
Monitor levels of pollutants like carbon monoxide, VOCs (volatile organic compounds), and particulate matter.​
Trigger air purifiers or ventilation systems to improve air quality.​
Provide insights into indoor air quality trends.​
Integrated humidifier or dehumidifier to maintain optimal humidity levels for comfort and health, particularly during the hot and humid summer months.
Monitor humidity levels to prevent mold growth and improve air quality.​
Trigger humidifiers or dehumidifiers to maintain optimal humidity levels.​
#VALUE!
Curtains Control
Motorized curtains or blinds that can be scheduled or controlled remotely to regulate natural light, reduce heat gain, and enhance privacy.
There are range of plug-and-play gadgets to open and close curtains and blinds using your smartphone, and you can even set timers for dawn and dusk, which can improve sleep habits, and also enhance home security when you’re away.
Electric blinds can also help with energy efficiency as they can be programmed to close when the sun disappears and temperatures start to drop, maximising heat retention. And of course they’re perfect for hard-to-reach windows such as increasingly popular gable ends.
#VALUE!

## Energy & Water Management
Energy Management | Water Management
Definition | Definition
A suite of intelligent devices designed to monitor, control, and optimize energy consumption throughout the home. | A network of sensors and smart devices that monitor water usage, detect leaks, and automate irrigation systems.
Benefit | Benefit
Leads to reduced energy bills, lower carbon footprint, and increased energy efficiency, contributing to both cost savings and environmental sustainability. | Promotes responsible water use, prevents costly water damage, and ensures optimal irrigation for lawns and gardens, leading to both financial savings and environmental conservation.
Description & Application | Description & Application
Smart Meter | Water Usage Monitoring
A smart meter compliant with local authority requirements to monitor energy consumption in real-time, providing detailed insights into usage patterns and identifying opportunities for energy savings. | A water monitoring system that tracks water consumption in real-time, providing detailed insights into usage patterns and identifying potential leaks or inefficiencies.
Schedule and automate the useage of all systems to ensure optimal useage | Water Leak​ Detection
Track electricity, gas, or water usage in real-time using smart meters or energy monitors. | Water Leak Sensors: Water leak sensors installed in critical areas like bathrooms, kitchens, laundry rooms, to detect leaks early and send alerts.
Predict monthly energy bills based on usage patterns | Detect water leaks in areas including bathrooms, kitchens, laundry, entry/exit ​
Use energy data to identify trends, optimize energy usage, and set energy-saving goals. | Send alerts to prevent water damage and costly repairs.​
Receive alerts for unusual energy and water consumption patterns that may indicate appliance malfunctions or leaks. | Shut off water supply automatically in case of major leaks.​
Receive alerts for periodic checks and maintenance of critical systems | Monitor and report on usage​
Personalized recommendations on how to reduce energy and water consumption and lower your bills. | Oftentimes, homeowners don’t notice water leaks until they have caused serious damage. Systems like this one from D-Link connect to your home WiFi to detect leaks. this model utilizes a multi-alarm system, including voice, alarm, and text to notify you immediately.
Integration of solar into the energy management system to optimize energy production and usage | #VALUE!
Integration of EV charging usage into overall sustainablity contribution and cost management | Water Flow​ Detection
Smart irrigation controllers use weather data, soil moisture sensors, and plant types to optimize watering schedules, reducing water waste and ensuring healthy plants. | Flow sensor is a smart flow reading device for water distribution networks and transmits data wirelessly. It measures water flow and transmits the data wirelessly. Flow sensor is installed in combination with a flow meter with a pulse output.
Smart sensors monitor water chemistry, temperature, and pump operation for efficient maintenance and energy savings. | #VALUE!
Sensored faucets reduce water waste by automatically turning off when not in use. | Smart Water Valves
Smart systems can collect and treat wastewater from showers, sinks, and laundry for reuse in irrigation or toilet flushing. | Automatic shut-off valves connected to the main water supply line to remotely shut off water in case of a leak or when the villa is unoccupied.
Integration with renwable energy & their smart meters (PV meters). | #VALUE!
Photocell with timers to controll external lighting on/off along with presence sensor if required. | Smart Water Heating
#VALUE! | smart heaters are installed with many high-tech features and can be controlled and tracked via internet-enabled applications as well as voice assistants. Appliances have become “smart” due to the rise of smart home technology.
Smart Outlets | #VALUE!
Energy monitoring smart for individual appliances and smart outlets with capabilities to optimize energy usage via a central platform. | Grey Water Integration
There are a few ways to turn ordinary home lighting into ‘smart lighting’. One way is through the sockets. Amazon offers a line of smart plugs that allow you to control your home lighting through a smartphone app. You can schedule when your lights are on or off, set light levels, and check your home lighting status while you are away. You can also set up schedules through the Alexa app so the lights can turn on and off at specific times. | The Smart Greywater System collects greywater from a house or building and supplies filtered greywater to the landscape drip irrigation system. The system itself support the integration with mobile application and can be integrated with home automation system.
#VALUE! | #VALUE!
Smart Thermostats | Cold-Water Temperature Monitoring
Zoned heating and cooling system with smart thermostats that learn occupant preferences and adjust temperatures, accordingly, incorporating geofencing and occupancy sensors for further optimization. | Monitoring cold-water storage tank temperature sensor.
Smart Appliances | #VALUE!
Household appliances equipped with connectivity and smart technology, allowing for remote control, energy monitoring, and automation of various tasks.
Streamlines daily routines, saves time, and enhances convenience by allowing residents to control and monitor appliances remotely, receive maintenance alerts, and optimize energy usage.
Kitchens serve as a hub for families and friends to come together. Smart kitchen technologies can help with staying connected and taking away the stresses of cooking.
Wifi-connected coffee makers – Start brewing your coffee from anywhere using a smartphone app.
Smart Cooktops – Induction cooktops with touch controls, safety features like automatic shut-off, and connectivity to voice assistants for hands-free operation.
Smart Microwaves – Equipped with sensors to prevent overcooking, voice control compatibility, and scan-to-cook technology where they can read barcodes on packaged foods and cook them accordingly.
Smart Range Hoods – These can automatically turn on when they detect heat or smoke and can be controlled via smartphone apps or voice commands.
Smart Slow Cookers and Pressure Cookers – Devices like the WiFi-enabled Instant Pot allow you to control cooking times and modes remotely.
Smart Blenders – These can weigh ingredients, follow recipes from an app, and adjust blending speed and time accordingly.
Automated Bread Makers – You can control them via an app, set timers, and choose from various recipes for a fresh loaf every time.
Robotic Vacuum Cleaners: While not entirely touchless in operation, once set up, robotic vacuums can clean entire homes with minimal human interaction.
Robotic vacuums are not new—iRobot first offered the Roomba in 2002 and has sold millions of units since. Newer models have impressive features including learning functions that enable them to memorize obstacles and drop-offs in frequently cleaned spaces so it can clean more quickly and efficiently. What makes these new vacuums truly smart, however, is the ability to start, schedule, and even steer the vacuums from your smartphone using apps.
#VALUE!

## Water Management
Water Management
Definition
A network of sensors and smart devices that monitor water usage, detect leaks, and automate irrigation systems.
Benefit
Promotes responsible water use, prevents costly water damage, and ensures optimal irrigation for lawns and gardens, leading to both financial savings and environmental conservation.
Description & Application
Water Usage Monitoring
A water monitoring system that tracks water consumption in real-time, providing detailed insights into usage patterns and identifying potential leaks or inefficiencies.
Water Leak​ Detection
Water Leak Sensors: Water leak sensors installed in critical areas like bathrooms, kitchens, laundry rooms, to detect leaks early and send alerts.
Detect water leaks in areas including bathrooms, kitchens, laundry, entry/exit ​
Send alerts to prevent water damage and costly repairs.​
Shut off water supply automatically in case of major leaks.​
Monitor and report on usage​
Oftentimes, homeowners don’t notice water leaks until they have caused serious damage. Systems like this one from D-Link connect to your home WiFi to detect leaks. this model utilizes a multi-alarm system, including voice, alarm, and text to notify you immediately.
#VALUE!
Water Flow​ Detection
Flow sensor is a smart flow reading device for water distribution networks and transmits data wirelessly. It measures water flow and transmits the data wirelessly. Flow sensor is installed in combination with a flow meter with a pulse output.
#VALUE!
Smart Water Valves
Automatic shut-off valves connected to the main water supply line to remotely shut off water in case of a leak or when the villa is unoccupied.
#VALUE!
Smart Water Heating
smart heaters are installed with many high-tech features and can be controlled and tracked via internet-enabled applications as well as voice assistants. Appliances have become “smart” due to the rise of smart home technology.
#VALUE!
Grey Water Integration
The Smart Greywater System collects greywater from a house or building and supplies filtered greywater to the landscape drip irrigation system. The system itself support the integration with mobile application and can be integrated with home automation system.
#VALUE!
Cold-Water Temperature Monitoring
Monitoring cold-water storage tank temperature sensor.
#VALUE!

## Safety & Security
Safety & Security
Definition
A comprehensive system of smart devices and monitoring tools that enhance security and protect residents from harm.
Benefit
Provides peace of mind by deterring intruders, detecting threats, and enabling remote monitoring and control, ultimately creating a safer and more secure living environment.
Description & Application
Access Control / Smart Locks
Keyless entry smart with facial recognition, fingerprint scan, remote access, temporary codes for guests, auto-locking features, and integration with other security devices.
One of the most obvious ways to apply smart technology to home security is with upgraded door locks. Through a phone app, you can lock and unlock your door, create virtual keys for guests, and keep track of who has entered and exited your home.
Smart Door Locks w biometrics.
Smart Door Locks e.g NFC enabled.
#VALUE!
Video Doorbell / Intercom
A video doorbell with facial recognition, package detection, two-way talk, and cloud storage for enhanced security and convenience.
#VALUE!
Smart Security Cameras
High-resolution outdoor and indoor security with features like night vision, motion detection, facial recognition, two-way talk, and server storage for continuous monitoring and recording.
Monitor outdoor spaces with high-resolution cameras equipped with night vision and motion detection. Store recordings locally or in the cloud for evidence or review.
Weatherproof outdoor security cameras strategically placed to monitor the perimeter of the villa, driveways, and entry points, providing 24/7 surveillance.
#VALUE!
Motion Sensors
Indoor and outdoor motion sensors, positioned strategically throughout the villa to trigger alerts, automate lighting, and enhance security.
#VALUE!
Intrusion Detection System
A professionally monitored alarm system with cellular backup, integrated with smoke detectors, carbon monoxide detectors, glass break sensors, SOS emergency alert (panic button), and door/window sensors for comprehensive protection.
Monitor activity inside your home, check on pets or children, and deter potential break-ins.
The system links directly with your internet router so it can detect even the smallest change in temperature or light level – alerting you immediately if anything out-of-the-ordinary occurs. A great option is the Ring Alarm 8-Piece Kit which allows users control over its features using voice commands from anywhere inside (or outside) their homes!
Other features of intelligent alarm systems include: 1. Modern motion sensors use artificial intelligence to differentiate between typical home movements (like a pet wandering) and potential threats, reducing false alarms. 2. Some systems can recognize registered household members. If an unfamiliar face or voice is detected, the system may trigger an alert. 3. Using a user’s smartphone location, the system can arm or disarm itself. For example, it can automatically arm when the homeowner leaves a predefined perimeter and disarm when they return. 4. Apart from break-ins, intelligent alarms can detect environmental threats like smoke, carbon monoxide, water leaks, or temperature changes, notifying homeowners of potential hazards. 5. Intelligent systems can connect with other devices in the home. If a security breach is detected, the system might turn on all lights, play loud noises on connected speakers, or even lock all doors. 6. Over time, some smart systems learn the daily routines and habits of the household, making them more adept at identifying unusual or suspicious activities. 7. Users can monitor their home’s security status in real-time via smartphone apps. They can arm, disarm, or modify the system settings from anywhere in the world. 8. Users can define specific “zones” in their camera’s view for heightened monitoring, like a window or a particular entryway. The system will pay special attention to these zones and notify the user of any movement or activity in those areas.
#VALUE!
Window Management
Receive alerts when doors or windows are opened or closed.​
Trigger alarms in case of unauthorized entry.​
Automate lighting and climate control based on door/window status.​
#VALUE!
Fire Alarm System Integration
Integrating your fire alarm system with home automation allows you to receive instant alerts and notifications on multiple devices. By connecting your fire alarm to your smartphone or smart home hub, you can get real-time updates during a fire emergency, enabling prompt action and evacuation if needed.
#VALUE!

## Home Entertainment
Home Entertainment
Definition
Enhance the home entertainment experience throughout the home, nclude smart TVs, audio systems, streaming devices, projectors, and lighting and ambiance controls that integrate for a more immersive experience.
Benefit
Provide convenience, personalization, and a heightened level of enjoyment by being able control and automate a wide range of media devices and content
Description & Application
Background Music (BGM) System / Integrated Audio System
A multi-room audio system with speakers and strategically placed throughout the villa, allowing for synchronized music playback, voice control, and personalized audio experiences.
To complement the visuals, integrating an audio system can significantly enhance the immersive media experience. Soundbars, surround sound systems, or home theatre systems deliver high-quality audio that fills the room, creating a more cinematic feel.
Weatherproof outdoor speakers connected to a multi-zone audio system for music and entertainment in outdoor areas like patios, balconies, and pool areas.
#VALUE!
Sauna Controller Integration
Sauna controller without Evaporator. With this Function Block a sauna can be optimally automated. All standard Sauna heaters can be controlled (switching of the heating elements, as well as analog control via 0-10 V signal).
#VALUE!

## Outdoor Automation
Outdoor Automation
Definition
The extension of smart home technology to outdoor areas, including irrigation systems, landscape lighting, outdoor audio, and security measures.
Benefit
Creates a truly connected and enjoyable living environment by extending smart features to outdoor spaces, enhancing convenience, comfort, aesthetics, and entertainment options.
Description & Application
Smart Irrigation
A smart irrigation system with weather-based scheduling, soil moisture sensors, and zone control to optimize watering based on plant needs and weather conditions.
A weather-based irrigation system with smart sprinkler controllers that utilize local weather data, soil moisture sensors, to optimize watering schedules and minimize water waste.
#VALUE!
Façade & Landscape Lighting Control
Smart façade & landscape lighting with customizable colours, scheduling, and motion-activated features to create ambiance, enhance security, and highlight architectural features.
Weatherproof outdoor security cameras strategically placed to monitor the perimeter of the villa, driveways, and entry points, providing 24/7 surveillance.
#VALUE!
Pool Management
A smart pool controller to automate functions like filtration, heating, lighting, and chemical balancing, ensuring optimal water quality and energy efficiency.
#VALUE!
Garage Panel Shutters Control
Enhance convenience, security, privacy with IoT enabled shutter control.
#VALUE!
EV Charging Integration
Dedicated electrical circuit and charging station for convenient and efficient electric vehicle charging at home.
#VALUE!